## 20150828_Bug
ID | Customer Reference | License Changes Reqd | Release Subject (Bugs) | Release Notes (Bugs)
4090 | N/A | FALSE | Specifications: Error when copying an existing specification | A bug has been fixed which caused an error message to occur when a new specification was created by copying an existing specification. Additionally, a bug which caused newly created specifications to appear in the QESTLab tree with the incorrect icon has also been fixed.
4334 | Cof15.120 | FALSE | Screen layout fixes in Atterberg Limits [NZS 4407:1991 Tests 3.2-3.4] and Linear Shrinkage [RMS T113] | Checkboxes to report empty results as 'Not Tested' in the Atterberg Limits [NZS 4407:1991 Tests 3.2-3.4][10072] screen are now aligned with the correct fields. Results tab in the Linear Shrinkage [RMS T113][10079] screen is fixed to contain the complete frame, removing unwanted checkboxes.
4363 |  | FALSE | Concrete Test Report (AU) - Compaction Notes | A bug that caused concrete compaction notes to not be reported in the footer notes of the Concrete Test Report (18969) has been fixed.
4494 | PSI1323 | FALSE | Reports and Charts: Certain filters cause error message | A bug which caused an error with circumstantial data filters for Report and Charts has been fixed.
4509 | n/a | FALSE | External Test Report Pictures: Uninformative error messages | An error message has been added to prompt the user to install Ghostscript if attempting to use functionality that requires it whilst adding pictures to a test report.
4514 | PSI1339 | FALSE | Concrete Test Report (TxDot): Mark Notes Missing | A bug, which resulted in Marks not appearing on the Concrete Test Report (TxDot), has now been fixed.
4531 | Cof15.185 | FALSE | Concrete field report: Incorrect methods reported in the 'Notes' section of report. | A bug which caused the generated test method notes to display incorrect entries (on the reports mentioned below) has now been resolved.Concrete Field Report [AS] [18966] Concrete Field Report [Q ][18946] Concrete Field Report [RMS] [18957]
4544 | PSI1336 | FALSE | CBR at DDD [ASTN D 1883] - Scroll bars not appearing | A bug has been fixed which caused both horizontal and vertical scrollbars to not be visible for the following test screens.California Bearing Ratio (CBR at DDD : Metric) [ASTM D 1883] [110236] California Bearing Ratio (CBR at DDD) [ASTM D 1883] [110227]
4547 | NA | FALSE | Grading [AS 1289.3.6.1] - Calculating Dry Mass Passing incorrectly when using 'Tray+After Wash' option. Atterberg Limits [RMS T108/T109] - Incorrectly Importing Percentage Passing 425um sieve. | A bug on the Atterberg Limits [RMS T108/T109] screen where the Percentage Passing 425um sieve was incorrectly imported, has been fixed.
4565 | Cof15.180 | FALSE | [RMS T166] - Incorrect rounding of Field OMC on report | A bug which caused the Field OMC to be reported to the nearest 0.5%, rather than the correct 0.1% on the Relative Compaction [RMS T166](10566) test has been fixed.
4579 | Cof15.167 | FALSE | Grading - Hydrometer [RMS T190] - Incorrectly reporting values to the nearest 0.1% | A bug on the Grading - Hydrometer [RMS T190] screen, where it would incorrectly report the hydrometer values to the nearest 0.1% instead of the nearest 1%, has now been fixed.
4596 | PSI1345 | FALSE | Aggregate/Soil Test Report - Method Alignment when using Test Report view 'PSD Predominant Non Classified' | A bug when using the Aggregate/Soil Test Report View 'PSD Predominant Non Classified', where the alignment of the method would result in the text being cut off, has now been fixed.
4607 | PSI1357 | FALSE | Test Reports: Able to add images to a signed report | A bug that allowed the user to add an image to a signed test report has now been fixed.
4623 | QL-8353 | FALSE | QEST Administrator Console: Invalid object types showing on document trees | A bug which caused invalid object types to appear on the document selection trees for the "Accreditation" and "Manage External Documents" screens in the QEST Administrator Console has been fixed. These invalid types were appearing as blank entries or with the caption "NYI". Additionally, the following issues were also corrected on the "Accreditation" screen:The document tree was not loading when this screen was first accessed A busy cursor was not being shown while a new accreditation was loading
4626 | PSI1362 | FALSE | Particle Size Analysis of Soils - Sieve & Hydrometer [ASTM D 422] - Moisture Content is not calculated if Tray Mass is 0 | A bug on the Particle Size Analysis of Soils - Sieve & Hydrometer [ASTM D 422] screen where the moisture content is not calculated if Tray Mass is 0, has now been fixed.
4631 | PSI1348 | FALSE | External Reports: Invalid Use of Null Error | A bug which resulted in an 'Invalid Use of Null' error being thrown when adding External Reports to a Work Order has now been fixed.
4633 | QL-8355 | FALSE | Sampling Method - Doesn't Appear in Competencies list until QESTLab is restarted. | A bug which required QESTLab to be restarted for a new Sampling Method to appear in the competencies list, has now been fixed.
4648 | Cof15.205 | FALSE | Random Site Location: Incorrect Calculation | An incorrect calculation on the Random Site Location [RMS Q6] (11341) test has been fixed.
4651 | Cof15.210 | FALSE | Client List: 'Inactive' checkbox always disabled | A bug, which resulted in the 'Inactive' checkbox on the client list always being disabled, has now been fixed.
4669 | PSI1374 | FALSE | Audit Trail: Objects with Old Format Keys not Showing | An issue which prevented objects with old format keys from showing in Audit Trail has been addressed.
4686 | INTERNAL | FALSE | User Documents - LISTRESTRICT format does not work | A bug, which resulted in the format LISTRESTRICT not working on fields added to a User Document, has now been fixed.