## 20151002_Bug
ID | Customer Reference | License Changes Reqd | Release Subject (Bugs) | Release Notes (Bugs)
3577 | INTERNAL | FALSE | Sub Sampling | The Sub Sampling Grid has been changed so that a sub-sample can be sampled accurate to 0.01 inches. This means that when the sample is sub-sampled it occurs at the offset seen on the 'Offset Preview'.
3591 | n/a | FALSE | Pyknometer method added in Particle Density test names | Following test's names have been changed to differenciate between the large/small Pyknometer versions: Particle Density - Small PYK [BS 1377-2: 1990 cl 8.3][110909] Particle Density - Large PYK [BS 1377-2: 1990 cl 8.4][110913]
3592 | n/a | FALSE | "Name=" has been removed from Liquid Limit test captions. | "Name=" has been removed from following test captions. Liquid Limit - Casagrande [BS 1377-2: 1990 cl 4.5][110943] Liquid Limit - Cone Penetrometer [BS 1377-2: 1990 cl 4.3][110944] Liquid Limit - One Point Cone Penetrometer [BS 1377-2: 1990 cl 4.4][110945]
3593 | n/a | FALSE | Shipment Receipt Pictures | A bug that prevented pictures from being added to a shipment receipt has now been fixed. Any pictures added to a Shipment Receipt are now stored in the file system storage. The file storage location in the QEST Administrator Console. Select Options/System/Storage and enter a directory location into the 'File System Storage Location' option.
3594 | INTERNAL | FALSE | Sample transfer Error 13 in specific labs | Fixed the error message which was getting when creating new sample requests in certain labs where the Formatting options were not set in QEST Administrator Console.
3632 | INTERNAL | FALSE | Vertical Sub Sampling | An error which caused QESTLab to crash during Vertical Sub Sampling, has been fixed.
3645 |  | FALSE | Create Specification Record | A bug which prevented a Specification Record from being created, has been fixed.
3662 |  | FALSE | Plate Reports | 1 Increased the upper range of Void Ratio to include up to 8 on Oedometer report charts. 2 Fixed an error displaying Lab Technician on the Oedometer report. 3 Fixed the formats of Diameter, Height, Saturation, Differential Height and Moisture Content of the Oedometer report. 4 Fixed a wording issue on the Plate Report “correction required” window. Fugro: 20141017 - 119.3 ASTM OED report: void ration vs log(p) does not connect points correctly, uses a straight line and chooses an incorrect scale (void ratios can get to 8) Fugro: 20141017 - 119.6 Testing technician name on ASTM OED Report is incorrect Fugro: 20141017 - 119.8 ASTM OED report: Cv and Mv do not show and differential height should be to 2 d.p. Fugro: 20141017 - 119.10 OED reports: need to be able to include Becker interpretation
3668 |  | FALSE | Torvane and pocket Penetrometer Plate Report | A bug has been fixed on both Torvane (18950) and Pocket Penetrometer (18960) Plate Reports that caused the "Adaptor Size", "Undrained Shear Strength Estimate" and table notes to not be reported. Fugro: 20141020 - 130.4 TV test - results not shown on report
3681 |  | FALSE | Oedometer Plate Report | The following fixes have been made to the Oedomater plate report (18545). 1. The X-axis range on logarithmic charts now supports a wider range. 2. Charts in general have a fix to prevent 'precision-loss' that causes the maximum and/or minimum axis values to not be labelled. 3. Diameter and Height is now reported to the nearest 0.0005 inch. 4. Void Ratio is now reported to the 0.01 decimal. 5. Saturation is now reported to the 0.1 decimal. 6. Differential Height is now reported to the nearest 0.0005 inch. 7. Pressure is now reported to the nearest 0.01 ksf. Fugro: 20141021 - 155.1 ASTM D2435 (Oed) Report: x-axis should start at 0.1ksf, missing 5 initial stages Fugro: 20141021 - 155.2 ASTM D2435 (Oed) Report: Vertical axis; label start and end points Fugro: 20141021 - 155.3 ASTM D2435 (Oed) Report: Diameter and height to the nearest 0.0005 inch Fugro: 20141021 - 155.4 ASTM D2435 (Oed) Report: Technician name not shown in report Fugro: 20141021 - 155.5 ASTM D2435 (Oed) Report: Void Ratio in 0.01 decimal Fugro: 20141021 - 155.6 ASTM D2435 (Oed) Report: Saturation in 0.1 decimal Fugro: 20141021 - 155.7 ASTM D2435 (Oed) Report: Differential height to the nearest 0.0005 inch (page 3) Fugro: 20141021 - 155.8 ASTM D2435 (Oed) Report: Pressure to the nearest 0.01 ksf Fugro: 20141021 - 155.9 ASTM D2435 (Oed) Report: Cv and Mv are not populated in report (2 significant fig.) Fugro: 20141021 - 156 ASTM D2435 (Oed): Error reporting OED results on Sample1WAXC on project US1410 Foundation Investigation